{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":6,"macros":1,"external_links":0,"defined_names":0,"comments":1,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":30,"n_cols":8,"rows_kept":30,"cut":false,"hidden":false,"merged":[]}
["Serial port settings:",null,null,null,"TCP/IP Settings:"]
["Serial Port",1,null,null,"IP Address","127.0.0.1"]
["Baud rate",9600,null,null,"Service Port",502]
["Data bits",8,null,null,"IP Version",4]
["Parity",0,null,null,"Connect timeout",1000,"ms"]
["Stop bits",1]
[]
[]
["Common Settings:",null,null,null,"Connection"]
["Mode",0,null,null,"Connection",1]
["Response Timeout",1000,"ms"]
["Delay between polls",20,"ms"]
[]
[]
[]
[]
[null,"Open result",null,0]
[]
[]
["Modbus address","Value",null,null,null,null,null,"Values to write"]
[0,0,null,null,"Read result",0,null,0]
[1,31,null,null,null,null,null,0]
[2,0,null,null,null,null,null,0]
[3,0,null,null,null,null,null,0]
[4,0,null,null,null,null,null,50]
[5,0,null,null,null,null,null,0]
[6,0,null,null,null,null,null,0]
[7,0,null,null,null,null,null,0]
[8,0,null,null,null,null,null,0]
[9,0,null,null,null,null,null,0]

{"sheet":"Sheet2","index":1,"n_rows":14,"n_cols":2,"rows_kept":14,"cut":false,"hidden":false,"merged":[]}
[300,4]
[600,6]
[1200]
[2400]
[4800]
[9600]
[14400]
[19200]
[38400]
[56000]
[57600]
[115200]
[128000]
[256000]

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}